## Size
Component | Unit | Total
PV panels | kW | 195.87
Battery bank | kWh | 87.34
Diesel Genset | kW | 2795.38

## Cost
Cost item | Component | Scenario | Unit | Total
Net present cost | System | - | kUSD | 9924.842
Total Investment cost | System | - | kUSD | 2201.836
Total fixed O&M cost | System | - | kUSD | 803.284
Total variable O&M cost | System | - | kUSD | 6919.722
Salvage value | System | - | kUSD | 0
Levelized Cost of Energy | System | - | USD/kWh | 0.2418
Investment cost | PV panels | - | kUSD | 489.675
| Battery bank | - | kUSD | 34.936
| Diesel Genset | - | kUSD | 1677.225
Fixed cost | PV panels | - | kUSD | 83.378
| Battery bank | - | kUSD | 0.699
| Diesel Genset | - | kUSD | 713.958
Lost load cost | System | 2 | kUSD | 0
Replacement cost | Battery bank | 2 | kUSD | 3.986
Fuel cost | Diesel | 1 | kUSD | 369.945
|  | 2 | kUSD | 13456.708

## Yearly cash flows
| Fixed costs |  |  | Lost load cost |  | Replacement cost |  | Fuel cost
Component | PV panels | Battery bank | Diesel Genset | System |  | Battery bank |  | Diesel
Scenario | - | - | - | 1 | 2 | 1 | 2 | 1 | 2
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 9.79 | 0.7 | 83.86 | 0 | 0 | 0.93 | 0.37 | 43.31 | 1580.42
Year 2 | 9.79 | 0.7 | 83.86 | 0 | 0 | 0.94 | 0.38 | 43.32 | 1580.46
Year 3 | 9.79 | 0.7 | 83.86 | 0 | 0 | 0.95 | 0.39 | 43.33 | 1580.47
Year 4 | 9.79 | 0.7 | 83.86 | 0 | 0 | 0.96 | 0.4 | 43.35 | 1580.49
Year 5 | 9.79 | 0.7 | 83.86 | 0 | 0 | 0.98 | 0.41 | 43.37 | 1580.52
Year 6 | 9.79 | 0.7 | 83.86 | 0 | 0 | 0.99 | 0.43 | 43.39 | 1580.54
Year 7 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.01 | 0.44 | 43.41 | 1580.57
Year 8 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.02 | 0.46 | 43.43 | 1580.6
Year 9 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.04 | 0.47 | 43.46 | 1580.63
Year 10 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.06 | 0.49 | 43.48 | 1580.66
Year 11 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.08 | 0.51 | 43.51 | 1580.7
Year 12 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.11 | 0.54 | 43.55 | 1580.74
Year 13 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.13 | 0.56 | 43.58 | 1580.79
Year 14 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.16 | 0.58 | 43.62 | 1580.83
Year 15 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.19 | 0.61 | 43.67 | 1580.88
Year 16 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.22 | 0.64 | 43.71 | 1580.94
Year 17 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.25 | 0.67 | 43.77 | 1581
Year 18 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.28 | 0.7 | 43.82 | 1581.07
Year 19 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.32 | 0.73 | 43.88 | 1581.14
Year 20 | 9.79 | 0.7 | 83.86 | 0 | 0 | 1.36 | 0.77 | 43.95 | 1581.21

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 47.83 | 12.69 | 3.35 | 0.27
Year 2 | 47.83 | 12.69 | 3.35 | 0.28
Year 3 | 47.83 | 12.69 | 3.35 | 0.28
Year 4 | 47.83 | 12.69 | 3.35 | 0.29
Year 5 | 47.83 | 12.69 | 3.35 | 0.29
Year 6 | 47.84 | 12.69 | 3.35 | 0.3
Year 7 | 47.84 | 12.69 | 3.35 | 0.3
Year 8 | 47.84 | 12.69 | 3.36 | 0.31
Year 9 | 47.84 | 12.69 | 3.36 | 0.32
Year 10 | 47.84 | 12.69 | 3.36 | 0.33
Year 11 | 47.84 | 12.69 | 3.36 | 0.34
Year 12 | 47.85 | 12.69 | 3.36 | 0.35
Year 13 | 47.85 | 12.69 | 3.37 | 0.36
Year 14 | 47.85 | 12.69 | 3.37 | 0.37
Year 15 | 47.85 | 12.69 | 3.37 | 0.38
Year 16 | 47.86 | 12.69 | 3.38 | 0.39
Year 17 | 47.86 | 12.69 | 3.38 | 0.4
Year 18 | 47.86 | 12.69 | 3.38 | 0.42
Year 19 | 47.87 | 12.68 | 3.39 | 0.43
Year 20 | 47.87 | 12.68 | 3.39 | 0.45